## INSPECTION AND TESTING OF AUTOMATIC FIRE DETECTION SYSTEM

#### SCOPE OF WORK

The Fire Code of New York State requires you to test, inspect and maintain fire protection systems in an operative condition in accordance with the original installation standards.  The Fire Code also requires you to keep on file at the premises all inspection, testing and maintenance records.  Any questions concerning regulatory requirements for fire protection systems should be directed to your municipal code enforcement authority.

W & M will notify you in writing of any condition or deficiency discovered which warrants correction or repair.  Any authorized work will be performed either as quoted or on a time and material basis.

Examples of work we will perform include, but are not limited to:

- Check fire alarm control unit, power supply, lamps and indicators, batteries and fuses.

- Check operation of fire alarm initiating devices (except valve tamper and sprinkler flow switches*)

- Check operation of fire alarm notification appliances

- Confirm receipt of fire alarm, trouble and supervisory signals to your supervising station

- Furnish completed paper inspection forms to you

- Advise in writing of any required or recommended work

* This testing is normally performed by the maintainer of the fire sprinkler system

Excluded Work:

- Design work

- Inspection of fire alarm equipment in inaccessible or concealed spaces

- Evaluation of specific hazards

- Repair or modification of any equipment

- Sensitivity testing of detectors-This can be done at an additional charge.