## Annual

## INSPECTION / TESTING OF PRIVATE FIRE HYDRANT

The State Fire Code requires you to inspect, test, and maintain fire protection systems in an operative condition. All inspection, testing and maintenance records are required to be kept on file at the premises.  Any questions concerning regulatory requirements for fire protection systems should be directed to your municipal code enforcement authority.  W & M Fire Protection will notify you in writing of any condition or deficiency discovered requiring correction or repair.  Any authorized repair/maintenance work will be performed either as quoted or on a time and material basis.

#### SCOPE OF WORK

- (Annually) Visually inspect exterior condition for leaks, damage and missing components.

- (Annually) Verify proper operation.

- (Annually) Flow each hydrant until water stream runs clear.

- (Annually) Observe proper drainage from dry barrel hydrants.

- (Annually) Lubricate stems, caps/plugs, and threads.

- (Annually) Inspect for accessibility.

- Furnish completed Inspection/test forms.

Excluded Work:

- Disassembly of hydrant.

- Removal of water if hydrant fails to drain.

- Record any flow or pressure measurements.

- Antifreeze solution to winterize non-draining hydrants.

- Maintaining adequate access around hydrant.

- Any and all NFPA, State. And Local requirements in excess of above stated.

Licensed by the NYS Dept of State – UID# 12000244389, UID#12000281635, UID#12000259060

Rev. 07-28-10