## INSPECTION AND TESTING OF FM-200 FIRE SUPPRESSION SYSTEM

The Fire Code of New York State requires you to test, inspect and maintain fire protection systems in an operative condition, and to maintain inspection, testing and maintenance records on the premises.  W & M will notify you in writing of any condition or deficiency requiring correction or repair.  Any authorized repair work will be performed on a time and material basis.

Customer is responsible for appropriate facility loss prevention practices, including, but not limited to, fire prevention, protection/backup of data and safe shutdown of server equipment upon fire suppression system actuation.  Customer is also responsible to maintain the physical integrity of the room enclosure after initial acceptance testing.

#### SCOPE OF WORK

- Visually inspect system components

- Check agent quantity and pressure

- Check releasing panel and batteries for abnormal conditions

- Visually inspect agent storage containers

- Visually inspect hoses

- Test suppression system initiating devices and notification appliances

- Verify receipt of alarm, trouble and supervisory signals at building fire alarm control unit and supervising station (if applicable)

- Verify auxiliary functions (remote annunciators, air-handling shutdown)

- Furnish completed paper forms

Excluded Work:

- Agent discharge test (not required by code)

- Refill or add agent to storage container

- U.S. DOT testing of agent storage containers

- Hose pressure testing (required every 5 years)

- Repair or replacement of deficient parts

- Room enclosure inspection or door fan tests