## Annual

## INSPECTION/ TESTING OF BACKFLOW PREVENTION DEVICE

State Department of Health (D.O.H.) requires you to maintain Cross Connection Control Assemblies in acceptable condition and to maintain inspection, testing and maintenance records.  W&M Sprinkler will notify you in writing of any condition or deficiency discovered requiring correction or repair.  Any authorized repair work will be performed either as quoted or on a time and material basis.

#### SCOPE OF WORK

- (Annually)Visually inspect external condition of backflow assembly

- (Annually) Verify both assembly control valves are in sealed in proper position

- (Annually)Perform backflow performance test

- Affix test tags to device

- Furnish completed Inspection/test forms

Excluded Work:

- Interior Cleaning and retesting of device

- Repair of device that fails initial test

- Sending report to water Authority

- Any an all NFPA, DOH, State, and Local requirements in excess of above listed

Licensed by the NYS Dept of State – UID# 12000244389, UID#12000281635, UID#12000259060

Rev. (6/16/10)